## Laboratory Inspection Checklist
Items to Inspect in the Science Department: Use this inspection form and make observations in each room and complete the inspection including images captured to document the walk-through. | YES | No | DNO | NA | #VALUE!
Laboratory Room # (Science/STEM Instructional Space)
COMMUNICATION / TEACHER SUPERVISION
1. A functional telephone with emergency numbers posted nearby or a PA system that has 2 way communication with the main office is available.
2. Emergency contact numbers (current) are posted in plain sight.
3. Student/Teacher ratio never exceeds 24:1
4. Students are never left alone during any experiment, investigation or activity. The teacher is always present.
FIRST AID KIT
1. There is a first aid kit in the room that is properly labeled, contains an appropriate medical items and materials and is accessible.
2. The first aid kit is inspected monthly and items are on-hand to replensih as required.
3. Teachers have an understanding of First Aid standard Operating Procedures from the Chemical Hygiene Plan or School District policy on the limits of first aid and potentially CPR training and use of an AED
FIRE EXTINGUISHER/ BLANKET / SAFETY
1. Do you have a triclass (ABC) powder style fire extinguisher in this room?
2. Fire extinguisher must be visible, easily accessible, and unobstructed with a valid inspection tag from within the previous 12 months ( ideally monthly ).
3. Gauge on the fire extinguisher indicates it is adequately charged and breakaway pin is in place
4. There are an adequate number of appropriate fire extinguishers in the room. NFPA 101 requires that you are within 25 steps of a functional ABC type fire extinguisher.
5. The fire extinguisher is installed on a wall mounting bracket, and not on the floor, with a minimum capacity of 15 pounds but not more than 40 pounds.
6. A special yellow 'Class D' fire extinguisher is available ( if using certain highly reactive metals).
7. Students and teachers know the location of the nearest fire pull box.
IMAGE OF FIRE EXTINGUISHER IN ROOM
OBSERVATIONS:
FIRE BLANKET
1. There is a fire blanket in the room if there are gas jets or a room that uses open flames or potentially flammable chemcials.
2. The wool fire blanket is clearly labeled, visible, easily accessible and unobstructed?
3. All teachers have all been adequately trained on how and when to use a fire blanket in which circumstances.
4. The fire blanket is inspected minimum at least every year.
IMAGE OF FIRE BLANKET
SAFETY SIGNS
1. There are fire exit signs posted in the room and communicated with clear instructions.
2. Safety & engineering controls have signage (eye wash station, safety shower, fume hood, fire extinguisher, chemcial spill kit, master electrical shut off, gas shut off valve , emergency exit, fire procedures etc. )
3. There are safety posters related to rules and procedures visible in the laboratory.
IMAGE OF SAFETY SIGNAGE IN ROOM
EYEWASH
1. There is a functional eyewash located in every room that uses chemicals.
2. The eyewash is labeled, visible, easily accessible and unobstructed.
3. The eyewash allows for hands-free dual eye treatment simultaneously and is plumbed into the water supply of the school that allows for a 20 minute continous usage cycle at 3 gal/minute of tepid water.
4. There is an eyewash located throughout the science departmentso that you never need to travel more than 30 feet to reach one. ( lab and prep areas)
5. Eyewash is run for at least five minutes on a weekly basis and is inspected visually and mechanically every 90 days.
IMAGE OF EYEWASH STATION AND TAG
SAFETY SHOWER/BODY DRENCH
1. Threre is a functional plumbed in safety shower/body drench in the chemistry lab and in chemical storage area that can deliver 20 gallons of tepid fresh water when operational.
26. Safety shower/drench is clearly labeled, visible, accessible and unobstructed and can be operated with a hands-free handle.
2. There is a functional safety shower/body drench is located in the science department including the science labs and chemical storage area. Accessible within 50 feet of a work area (lab/prep room).
3. Safety shower/body drench is tested every six months to make sure it is not obstructed with sediment by using a deluge test kit or shower curtain and a pail to direct water.
4. There are floor drains in the room that can accept the volume of water from a shower in the event it is used for emergencies.
IMAGE OF DRENCH SHOWER OR COMBO UNIT
MASTER UTILITY CONTROLS
1.There is a master electrical isolation switch in the room and it is functional and annually inspected.
2. There is a main room gas shutoff valve that is in good working order, placarded and inspected annually.
3. The gas shutoff valve is turned off (locked) when gas is nit in use in the laboratory.
4. Laboraoty gas turret jets are inspected often and especially at the end of the lesson when they were used and before planned closures such as holidays and summer break.
5. There are water shut off valves found beneath each appliance (faucet) to isolate the water supply in case of a leak.
OBSERVATIONS:
IMAGE OF MASTER SHUT OFF CONTROLS IN ROOM
FUME HOOD
1. There is a fume hood in the rooms that have chemical preparations and usage such as the chemistry lab and the prep room that is unobstructed, functionand and inspected annually with a minimum face velocity of 100CFM with an adjustable sash.
2. There are NO chemicals kept on the worksurface of the fumehood as used chemical wastes or unused reagents.
3. The fume hood exhaust fan uses an anti-spark, inline blower motor that exhausts outside with no recycling of the fumes from the hood.
4. There is adequate ventilation in your laboratory? There may be a purge exhaust fan used or a HVAC air exchanger that deliveres fresh air to the room to remove potentially harmful vapors?
OBSERVATIONS:
IMAGE OF FUME HOOD IN ROOM
SPILL CONTROL EQUIPMENT
1. There is a chemical spill kit in case of accidental spills to handle solvents, acids and bases appropriately that contains a sufficient amount of neutralizing agents and absorbant materials.
2. Spill kit is located in an easily accessible and unobstructed location in the room.
3. All teachers in the department have completed training on how to handle various chemical spills.
OBSERVATIONS:
PERSONAL PROTECTIVE EQUIPMENT & HYGIENE PROTOCOLS
1. All goggles are stamped, approved ANZI Z87.1 D3 certified with indirect venting that are chemcial splash and impact resistant. There are no sub-standard non-certified protective safety eyewear in the room. There is at last one pair for every person in the lab including visitors and extras in case of damage.
2. There is a goggle / safety glasses hygiene plan in place that will clean, sanitize and disinfect goggles between uses. This can include use of the Lysol dip method, disinfecant wipes and potentially a UV-C goggle sanitation cabinet.
3. Every person in the lab when conducting an investigation wears protective eyewear when handling ALL chemicals, glassware, potential projectiles and tools.
4. There is adequate soap available for people in the lab to use as needed
5. There is hand sanitizer that is listed on the EPA 'List N' that is certified and contains at least 60% alcohol is on-hand
6. There is an adequate number of lab coats or rubberized aprons for all people actively working in the lab including potential visitors.
7. Appropriate gloves are on-hand to safely handle hazardous chemcials, use for biological dissections and to handle heat differentials if required. Nitrile gloves in various sizes from S,ML,XL are typically found in science departments for use in experiments.
8. Ear muffs or safety foam ear plugs are on-hand if there are experiements performed that are loud ( over 85 decibels for every person in the lab.
IMAGES OF PPE & STORAGE OF PPE
FLOOR PLAN ERGONOMICS
1. There is adequate space in the lab for students and the teacher to move freely without obstructions. The teacher has a clear line of sight to all works stations and there is no clutter including book bags on the floor.
2. The flat surfaces including benchtops, workstations, counters and flooring is designed to be non-skid and chemical/heat resistant as needed depending on the discipline in the room. There is no floor covering such as an accent rug in the lab.
3. There are ideally two entrace/exits from the room. If there is only one exit, it is a minimum 28 inches wide and evacuation signage is posted next to it in case of emergency.
4. All lab worksurfaces are smooth and no sharp edging exists in a perimeter, penninsula, trifacial or other lab design and these are made from epoxy resin or comparable compound that is chemical and heat resistant.
IMAGE OF THE ROOM FROM THE INSTRUCTOR DESK
IMAGE OF THE ROOM FROM THE ENTRANCE DOOR
GAS CYLINDERS & CHEMICALS IN LAB
1. Large gas cylinders (greater than 12" high) are firmly secured to the wall and are always in a holder or clamped tightly in placed while being used.
2. There are no gas compressed cylinders in the classroom area. The lecture style smaller bottles are only used by the instructor in special circumstances and placed back in the prep area / chemical store room immediately after use.
3. Chemicals are never stored in the classroom or laboratory unless they are in student reagent bottles or in a low concentration solution.
4. Chemcials are immediately returned to the prep room / chemical storage area after use in a class activity.
SAFETY DATA SHEETS
1. There is an SDS available for all chemicals in the school inventory. These are easily accessible in digital and printed formats by all teachers in the department.
2. The older MSDS have been kept and will be safely stored in the science department for 30 years.
3. List the link for the digital library of SDS for the inventory in the school science department.
OBSERVATIONS:
MUSEUM MOUNT BIOLOGICAL SPECIMENS
1. There are no homemade preserved specimens in the lab.
2. There museum mount biological specimens are in a clear liquid, not a tan/gold color liquid that is full.
IMAGE OF QUESTIONABLE PRESERVED SPECIMEN
GLASSWARE/ PLASTICWARE
1. There are designated broken glass receptacles available which are labelled and have a heavy-duty liner to prevent accidental glass punctures.
2. Drying racks for glassware such as test tubes, beakers, flasks and cylinders is avialble in the room.
3. The glassware used is not chipped, craked or dirty. Additionally if a bell jar is used for vacuum experiments or temperature differntials, it is wrapped in case of accidental breakage.
4. Plasticware is avaiable for student use such as beakers, cylinders, and other common vessels. These are not used for heat studies ( with a hot plate or burner ) and only under supervision.
Image of Broken Glass Box / Drying Racks
ELECTRICAL SAFETY
1. When inspecting all items which have a plug, there are no visible cracks, worn areas, exposed wires or spliced connections on the cord for items such as the microscopes, precision balances, VDG, ray boxes, lasers, waver generators, hot plates, autoclaves, and other electrical items found in the laboratory.
2. The receptacles in the science lab have been tested for polarity and are grounded as required.
3. Any electrical receptacle located within 24 inchdes of a sink, faucet, or water supply are contructed with built-in GFCI ( ground fault circuit interuptors).
4. There are no extension cords used in the laboraotry as these are a safety hazard.
5. Should any extension cords be used, they have a grounded 3-prong plug and are constructed from a minimum 18 gauge wire and are securely affixed to the floor to reduce the potential for a tripping hazard.
6. There are no power bars used in the laboratory or adapaters for making single receptacles into a multiple outlet source.
IMAGE(S) OF ANY DAMAGED CORDS OR ELECTRICAL CONCERNS i(IF APPLICABLE)
OBSERVATIONS:
BEST PRACTICES IN THE SCIENCE DEPARTMENT (ACCESS / SETS / CLUTTER)
1. Good housekeeping—All laboratories and storage areas are maintained in a neat, orderly condition and equipment is stored in its proper place and safely secured to prevent theft.
2. Students have access to their 'own' lab utensils, tools, instruments and apparatus without having to share with others. Station based common lab equipment is used to manage glassware, brushes, and apparatus.
3. The science teacher department office is not inside the chemical storage room. It may be in the prep area as long as there is adequate ventilation and it is clean, uncluttered and accesible only to teachers.
4. All doors are clear from obstructions and clutter in case of emergency.
5. Laboratory doors open outward into the hallway to provide faster egress should there be an emergency.
6. There are self-closing arms that return doors to the closed position automatically.
7. There is a policy and practice that ALL laboratories and prep rooms are locked when not in use.
8. Only trained science educators and maintenance personnel have access keys for the science department.
9. There is a commercial fire door used in the prep room / chemical store room.
OBSERVATIONS:
RULES, POLICIES AND SAFETY MANUALS
1. There is a Chemical Hygiene Plan (environmental hygiene plan ) for the school which contains the standard operating procedures and is updated annually.
2. The district or school has a written student lab safety contract used with every class that covers the rules in the science lab and the proper lab techniques and behaviors expected.
3. All teachers have received adequate and recent safety training on how to handle emergency situations and the safer and proper use of fire extinguishers, fire blankets, eye wash stations, drench showers, chemical spill kits, UV sanitation cabinets, flood control and accidental injury.
4. Every student is shown the proper techniques and safety protocols prior to each hands-on activity and there are written instructions in the procedures for every lab activity that outline the sequence for safety.
3. Teachers promote a positive attitude toward safety and are good safety role models and discuss pre-lab safety before the hands-on invesitgation.
5. All activities are evaluated using a hazard assesment for identifiying risk and the invesitgations selected for students have been approved by the department.
6. Only safety certified science teachers can conduct and monitor student laboratory activity experiences.
7. All safety issues are documented and any items that are unsafe or broken are removed from the usage rotation in the school. Until the issue is resolved or a replacement product arrives, the defective item cannot be used.
8. Teachers make a point of having a safety minute every day with their classes and make a note of the rules discussed in their daily lesson planner. More robust explanations are necessary prior to performing hands-on activity in the lab.
9. Only science investigations or theory are taught in the laboratory. This is a specialized dedicated room for science.
10. Students are never left unattended in the science area for any reason, especially during lab activities.
11. Teachers and students read all chemical labels prior to use. Teachers understand the hazards of a chemical before it is used and have the SDS on-hand.
12. Safety inspections occur annually and observations are documented and deficits are addressed by the school or school district. This is a regulatory compliance requirement annually and may be performed by the Chemical Hygiene Officer in your jurisdiction.
School Name:
School District: |  |  |  | City: |  | State: | Zip:
Date of Inspection:
Duration of Inspection:
Completed by:
(Name of people who participated in the inspection / documentation)
Science Department Chair / Head of the Department
Lead Biology Teacher
Lead Chemistry Teacher
Lead Physics Teacher
General Science Teacher
AP Teacher
Environmental Science Teacher
STEM Teacher
School Administrator
Maintenance / Facilities Department
Chemical Hygiene Officer (CHO)

## Prep Room Chemical Store Room
PREP AREA / CHEMICAL STORAGE AREA INSPECTION REPORT
Items to Inspect in the Science Department Prep Room and Chemical Store Room from a safety perspective: Inspect and document all criteria listed below and capture images as well. | YES | No | DNO | NA | #VALUE!
PREP ROOM #
PRIORITY SAFETY IN THE PREP AREA / CHEMICAL STORE ROOM (ACCESS / PPE /
1. All doors are clear from obstructions and clutter in case of emergency.
2. Laboratory doors open outward into the hallway to provide faster egress should there be an emergency.
3. There are self-closing arms that return doors to the closed position automatically.
4. There is a policy and practice that ALL laboratories and prep rooms are locked when not in use.
5. Only trained science educators and maintenance personnel have access keys for the science department.
6. There is a commercial fire door used in the prep room / chemical store room.
7. There is a fully functional eyewash station, plumbed into the school water supply which is unobstructed and accesssible.
8. The drench shower is plumbed into the water system and is located within 25 steps of the chemical store room.
9. There is a tri-class ABS dry powder style fire extinguisher mounted on the wall and unobstructed in the prep area.
10. There is adequate PPE available including safety gloves, lab coats, aprons, ANSI Z87.1 D3 safety goggles with indirect venting, face shields and other necessary items for teachers to use when handling chemicals and biological hazards.
11. There is a functional fume hood located in the prep room that has a minimum draw of 100cfm at the sash and is vented to the exterior of the building.
12. You have a minimum of 10L of dry sand in a pail that can be used for small fires or chemcial spills.
13. The entrance door is placarded with a sign that says 'Authorized Access Only' or 'No Students Allowed'.
14. There is no clutter in the prep area from kits, glassware, student projects and equipment that is making the prep room a dangerous work area.
15. There is a science cart that can be used for transporting chemicals safely between classrooms.
16. There is a safety stool / ladder to be used if necessary.
OBSERVATIONS:
CHEMICAL STOREROOM VENTILATION
1. There are no odors in the chemical store room / prep area.
2. There are four air exchanges per hour and it is exhausted to the outdoors with no recycling of air from the HVAC system.
3. Chemical store room HVAC s inspected and tested annually by maintenance or thrid party company.
OBSERVATIONS:
CHEMICAL STORAGE & DISPENSING
1. Chemical shelving units are securely anchored to the wall
2. The shelves are constructed from wood ideally with a 1" raised lip across the front.
3. Chemical storage shelves are properly labelled for segregating chemcial storage codes.
4. There is adequate clearance between all shelving units that allow for ergonomic movement.
5. There are adequate chemical dispensing products on hand for flammables, acids, bases, and poisons such as safety bottle carriers, large cylinders, large beakers, large flasks, dropper bottles and funnels for diluting, dispensing, and storing chemicals properly.
6. There is a commercially constructed safety shield(s) available for teaher demonstrations.
7. All chemicals are stored in the prep room or chemical store room after the lesson. Chemcials are not stored in the classroom / lab area.
8. There are no chemcials stored in the classroom. Once used for a demonstration or activity these are returned to the secure prep area or chemical store room.
9. The shelves and safety cabinets for chemicals are not crowded or overloaded. The chemicals are organized and arranged on the shelves without stacking.
10. All chemicals monitored for usage and those that have not been used in two or more years are purgned from the school chemical inventory.
11. There are no chemicals are stored on the floor or above eye level ( 72" ) or the top of the cabinets.
12. The chemical inventory is secured in a locked room, and the chemcial safety storage cabinets are locked containing flammables, acids, bases and poisons.
13. The alkali metals are very reactive to moisture including Ca, Li, Na, K and are stored appropriately in the flammables cabinet, in a secondary containment device with mineral oil inside. Only authorized trained teachers are allowed to handle these materials.
14. There are no 'Banned / Prohibited' substances on-site according to the CHP guidance in your area. These would include mutagenic, toxic, and volatile carcinogenic chemicals and heavy metal compounds.
15. There is adequate climate control in the chemical storage area that minimized humidity and temperature fluctuations even over vacations and holiday breaks during the school year.
16. Acids are stored in properly placarded 'acid' safety storage cabinet according to the chemical storage guidance. *Not all acids can be stored together*
17. Nitric acid is isolated from all other chemicals and is not stored with the other acids. It MUST be stored separately from acetic acid.
18. Bases (caustics) are stored in a placarded 'corrosive' safety storage cabinet.
19. All flammable liquids are stored in NFPA-certified chemical safety storage cabinets and away from heat or flame in a non-vented chemical cabinet.
20. Minimal amounts of chemicals are maintained in the inventory to allow for smaller bottles, lower concentrations, and newer (fresh) chemicals.
21. No chemicals are kept beyond the manufacturers shelf life. Ideally no chemicals for more than 3 years.
22. All chemicals are stored according to a recognized, trusted chemcial storage guidance program / pattern / plan that is communicated to the whole science department. All teachers use the same storage rules.
23. If the prep area is not adjacent to the laboratory, there is a sturdy cart to safely transport chemicals from one area to another. Ideally this has raised sides to prevent acciental spills.
24. There are no precipitates inside the safety chemical cabinets or on the shelves / chemical bottles as a result of incompatible chemical storage.
25. There are no incompatible chemical storage concerns in the prep area / chemical storeroom.
26. There are no open metal racking systems used for chemcial storage in the prep room or chemical store room
IMAGES OF CHEMICAL SAFETY CABINETS / OPEN SHELVES
CHEMICAL LABELLING AND INVENTORY
1. There is an accurate and current inventory of the chemicals in the prep area / chemical store room that is accessible and illustrates the amount of each chemical available in the department. Digital documentation is ideal.
2. There is an SDS for each chemical in the inventory that is available. ( can be digital, online but preference is given to a Accurate records of radioactive materials are maintained.
3. Every chemical in the inventory has a current GHS compliant label including the solutions made on-site. The use of pictograms, hazard statements, dates, molarity, the chemical identifier and a reference to SDS are necessary on ALL chemcial bottles.
4. Smaller dropper bottles, kit bottles and dilutions created at the school are appropriately labelled.
5. Older chemicals are updated with GHS compliant labels as 'overlay' workplace labels.
6. There is a date indicated on each chemcial bottle label from the supplier or from the solution preparation on-site.
7. Annually and on-going inspections of each chemical bottle for crackes, lids, leakage or other issues occur and any defective bottle is replaced and the chemical is labelled appropriately.
8. All chemical containers are insepcted annually for any issues such as leakage, or cracks. All lids and caps are replaced as required and appropriate GHS labels are used for replacement bottles.
9. There are no food grade jars used for chemical storage such as baby food jars, pickle jars, jam jars etc.
OBSERVATIONS:
WASTE MANAGEMENT & DISPOSAL
1. There is a standard operating procedure for the safer use of biological specimens and potential biological waste. Can be found in the Chemical Hygiene Plan (Environmental) or state DOE safety guidance documents
2. Any potential hazardous biological products have been documented, isolated, and stored for safer disposal by an approved haz-mat company.
3. Teachers have completed training on BBP (Blood borne pathogens and diseases) and understand that there are rigid protocols to follow with the use of blood or bodily fluids. The use of these are prohibited in secondary school science program and the use of simulated versions are encouraged.
4. There is a defined procedure in the CHP for the potential use of pathogens ( prohibited for high school science programs in most jurisdictions ) and disinfection protocols for all used glassware, equipment and apparatus.
5. Chemcial waste products are isolated, identified and documented for a hazardous waste clean-up from a recognized, certified hazardous materials remediation company at least once a year.
6. The chemical identified as wastes or past their expiration dates are disposed of aligned to the regulatory oblications in a municipal, county, state or federal jurisdiction.
OBSERVATIONS:
SCIENCE REFRIGERATOR
1. The refrigerator is properly placarded that clearly states that 'No food or drink - science use only' on the outside of the door.
2. Refrigerator is cleaned regularly and there is posted list of the contents with dates for the items.
BEST PRACTICES IN THE SCIENCE DEPARTMENT
1. Good housekeeping—All laboratories and storage areas are maintained in a neat, orderly condition and equipment is stored in its proper place and safely secured to prevent theft.
2. Students have access to their 'own' lab utensils, tools, instruments and apparatus without having to share with others. Station based common lab equipment is used to manage glassware, brushes, and apparatus.
3. The science teacher department office is not inside the chemical storage room. It may be in the prep area as long as there is adequate ventilation and it is clean, uncluttered and accesible only to teachers.
School Name:
School District: |  |  |  | City: |  | State: | Zip:
Date of Inspection:
Duration of Inspection:
Completed by:
(Name of people who participated in the inspection / documentation)
Science Department Chair / Head of the Department
Lead Biology Teacher
Lead Chemistry Teacher
Lead Physics Teacher
General Science Teacher
AP Teacher
Environmental Science Teacher
STEM Teacher
School Administrator
Maintenance / Facilities Department
Chemical Hygiene Officer (CHO)